## Sheet1
Gen Survey - MSRP Comparison
Survey Data
MSRP Data
|  | Matches | Issue Records
|  | 255 | 15 | 15
survey_index | survey_asset_id | msrp_asset_id_match | survey_asset_id_issue | survey_asset_id_duplicate | survey_gen_make | survey_gen_manufacturer | survey_gen_model | survey_kva_rating | msrp_asset_desc_one | msrp_asset_desc_two | msrp_manufacturer | msrp_model | msrp_custodian
9 | 1006901 | 1006901 | FALSE | FALSE | Perkins | 1106A-70TA | PERKIN 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
44 | 1009028 | 1009028 | FALSE | FALSE | Fujian Yihua | China made | BGTFD6500T | 8 | GENERATOR | GENERATOR | BG | BGTF6500T | OTHER
117 | 1009031 | 1009031 | FALSE | FALSE | BGTFD6500T | BGTFD6500T | BG 5KVA | 5 | GENERATOR | GENERATOR | BG | BGTF6500T | UNHCR
1 | 1009035 | 1009035 | FALSE | FALSE | Perkins | Perkens | Perkens | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA |  |  | OTHER
195 | 1010224 | 1010224 | FALSE | FALSE | Perkins | Perkins 2502/1500 | Perkins 45KVA | 45 | GENERATOR, 45 KVA, PRIME | GENERATOR, 45 KVA, PRIME |  |  | OTHER
302 | 1011563 | 1011563 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  |  | UNHCR
119 | 1012064 | 1012064 | FALSE | FALSE | Meico | Meico MPG 0200PKSD C75-50 | Meico 200KVA | 200 | GEN, PERKINS, 200 KVA PRIME PO | GEN, PERKINS, 200 KVA PRIME PO | PERKINS | MPG0200PKSD C75-50 | UNHCR
320 | 1014170 | 1014170 | FALSE | FALSE | Perkins | TGBF5012N05314C | PERKINS GEN 350 KVA, WATER COO | 350 | PERKINS GEN 350 KVA, WATER COO | PERKINS GEN 350 KVA, WATER COO |  |  | UNHCR
322 | 1014178 | 1014178 | FALSE | FALSE | Perkins | MGBF5083N07176C | PERKINS GEN 500 KVA, WATER COO | 500 | PERKINS GEN 500 KVA, WATER COO | PERKINS GEN 500 KVA, WATER COO |  |  | UNHCR
353 | 1014342 | 1014342 | FALSE | FALSE | Perkins | DK32000U486098C | GEN, PERKINS, 60 KVA WATER COOLER | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | OTHER
346 | 1014343 | 1014343 | FALSE | FALSE | Perkins | DK32000U486055C | GEN, PERKINS, 60 KVA WATER COOLER | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | OTHER
345 | 1014345 | 1014345 | FALSE | FALSE | Perkins | DK32000U486023C | GEN, PERKINS, 60 KVA WATER COOLER | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | OTHER
355 | 1014347 | 1014347 | FALSE | FALSE | Perkins | DK32000U486034C | GEN, PERKINS, 60 KVA WATER COOLER | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | OTHER
47 | 1023279 | 1023279 | FALSE | FALSE | Fujian Yihua | China made | 2100ABD | 13 | GENERATOR | GENERATOR | AC POWER | K4100D | OTHER
46 | 1023280 | 1023280 | FALSE | FALSE | Fujian Yihua | China made | 2100ABD | 13 | GENERATOR | GENERATOR | AC POWER | K4100D | OTHER
22 | 1024024 | 1024024 | FALSE | FALSE | Perkins | Perkins 1103A-33T | Model Year: 2015 | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | UNHCR
124 | 1029474 | 1029474 | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 33 | GEN, PERKINS, 30 KVA PRIME POW | GEN, PERKINS, 30 KVA PRIME POW |  |  | OTHER
54 | 1027458 | 1027458 | FALSE | FALSE | Fujian Yihua | China made | KDE6500T | 6 | GENERATOR | GENERATOR | Genline | Genline | OTHER
122 | 1027460 | 1027460 | FALSE | FALSE | Brand (Not idenitifiable) | Manufacturer (Engine (Not idenitifiable) | KDE6500T | 5 | GENERATOR | GENERATOR | Genline | Genline | UNHCR
123 | 1027462 | 1027462 | FALSE | FALSE | Brand (Not idenitifiable) | Manufacturer (Engine (Not idenitifiable) | KDE6500T | 5 | GENERATOR | GENERATOR | Genline | Genline | OTHER
20 | 1021143 | 1021143 | FALSE | FALSE | Perkins | Perkins 07593C | Perkings 500KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS | UNHCR
34 | 1019746 | 1019746 | FALSE | FALSE | Kohler SDMO | John Deere | J44K | 44 | GENERATOR SDMO T33 (30KVA) | GENERATOR SDMO T33 (30KVA) |  |  | UNHCR
31 | 1018402 | 1018402 | FALSE | FALSE | Kohler SDMO | John Deere | J44K | 40 | GENERATOR SDMO T33 (30KVA) | GENERATOR SDMO T33 (30KVA) |  |  | UNHCR
207 | 1016862 | 1016862 | FALSE | FALSE | FG WILSON | 11D3A-33TG2 | P65-5 | 65 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | UNHCR
362 | 1042250 | 1042250 | FALSE | FALSE | Perkins | DK32000U511110D | GENERATOR, PERKINS, WC/60 KVA WATER COOL | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA | Perkins Generator | 60 KVA Generator | OTHER
352 | 1042868 | 1042868 | FALSE | FALSE | Perkins | DK83403S021453E | GENERATOR, PERKINS, WC/60 KVA WATER COOLER | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA | Perkins 60 KVA generator | 60 KVA generator | OTHER
58 | 1032131 | 1032131 | FALSE | FALSE | Perkins | Perkins GG44PS-O | Perkins 44KVA | 40 | GENERATOR | GENERATOR |  | Parkins | OTHER
59 | 1032132 | 1032132 | FALSE | FALSE | Perkins | Perkins GG44PS-O | Perkins 44KVA | 40 | GENERATOR | GENERATOR |  | Parkins | OTHER
61 | 1032134 | 1032134 | FALSE | FALSE | Perkins | Perkins GG44PS-O | Perkins 44KVA | 44 | GENERATOR | GENERATOR |  | parkins | OTHER
150 | 1035479 | 1035479 | FALSE | FALSE | Perkins | Perkins WPS80S | Perkins 88KVA | 88 | GENERATOR, POWERLINK, 80 KVA | GENERATOR, POWERLINK, 80 KVA |  |  | UNHCR
151 | 1035480 | 1035480 | FALSE | FALSE | Perkins | Perkins WPS80S | Perkins WPS80S | 88 | GENERATOR, POWERLINK, 80 KVA | GENERATOR, POWERLINK, 80 KVA |  |  | UNHCR
56 | 1035481 | 1035481 | FALSE | FALSE | Perkins | Perkins WPS80S | Perkins 88KVA | 40 | GENERATOR, POWERLINK, 80 KVA | GENERATOR, POWERLINK, 80 KVA |  |  | OTHER
57 | 1035482 | 1035482 | FALSE | FALSE | Perkins | Perkins WPS80S | Perkins 88KVA | 88 | GENERATOR, POWERLINK, 80 KVA | GENERATOR, POWERLINK, 80 KVA |  |  | OTHER
126 | 1035483 | 1035483 | FALSE | FALSE | Perkins | Perkins WPS100S | Perkins 110KVA | 110 | GENERATOR, POWERLINK, 100KVA, | GENERATOR, POWERLINK, 100KVA, |  |  | UNHCR
127 | 1035484 | 1035484 | FALSE | FALSE | Perkins | Perkins WPS100S | Perkins 110KVA | 110 | GENERATOR, POWERLINK, 100KVA, | GENERATOR, POWERLINK, 100KVA, |  |  | UNHCR
128 | 1035485 | 1035485 | FALSE | FALSE | Perkins | Perkins WPS100S | Perkins 110KVA | 110 | GENERATOR, POWERLINK, 100KVA, | GENERATOR, POWERLINK, 100KVA, |  |  | UNHCR
24 | 1035592 | 1035592 | FALSE | FALSE | Perkins | 19A1001 | WPS150BS | 150 | GEN, POWERLINK, WPS150BS 150 k | GEN, POWERLINK, WPS150BS 150 k |  |  | UNHCR
343 | 1032537 | 1032537 | FALSE | FALSE | Perkins | PR82148*U054853B* | GENERATOR, PERKINS 150 KVA WATER COOLER | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | Perkins Generator 150 KVA | Perkins 150 KVA | OTHER
65 | 1034337 | 1034337 | FALSE | FALSE | AKSA | AKSA APD66C | AKSA 66KVA | 66 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW | AKSA & Turkey | APD66C | OTHER
51 | 1034405 | 1034405 | FALSE | FALSE | Perkins | Perkins 1103A-33G1 | Perkins 33KVA Water-Cooled | 33 | GENERATOR | GENERATOR | FG WILSON | P33.31103A.33GD | OTHER
52 | 1034406 | 1034406 | FALSE | FALSE | Perkins | Perkins 1103A-33G1 | Perkins 33 KVA Water-Cooled | 33 | GENERATOR | GENERATOR | FG WILSON | P33.31103A.33GD | OTHER
17 | 1036744 | 1036744 | FALSE | FALSE | Caterpillar | CAT C7.1 | DE220E0 LC5014F | 220 | GEN, CATERPILLAR, PRIME 200KVA | GEN, CATERPILLAR, PRIME 200KVA |  |  | UNHCR
48 | 1035187 | 1035187 | FALSE | FALSE | Fujian Yihua | China made | KDE12T | 10 | GENERATOR | GENERATOR | Genline |  | OTHER
50 | 1035190 | 1035190 | FALSE | FALSE | Fujian Yihua | China made | KDE12T | 10 | GENERATOR | GENERATOR | Genline |  | OTHER
165 | 1053569 | 1053569 | FALSE | FALSE | Caterpillar | Cat C9 | CAT C9 | 250 | GENERATOR, CATERPILLAR, 230KVA | GENERATOR, CATERPILLAR, 230KVA | Caterpillar C9.0 230 KVA | Caterpillar | UNHCR
164 | 1053570 | 1053570 | FALSE | FALSE | Caterpillar | Cat C9 | CAT C9 | 250 | GENERATOR, CATERPILLAR, 230KVA | GENERATOR, CATERPILLAR, 230KVA | Caterpillar C9.0 230 KVA | Caterpillar | UNHCR
310 | 1053871 | 1053871 | FALSE | FALSE | Perkins | 1103A-33T | GENERATOR PERKINS, WC/60KVA | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
281 | 1053873 | 1053873 | FALSE | FALSE | Perkins | Perkins | Perkins 60 KVA Water-Cooled | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
3 | 1053875 | 1053875 | FALSE | FALSE | Perkins | Perkens | Perkens | 100 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
282 | 1053877 | 1053877 | FALSE | FALSE | Perkins | Perkins 1103A-33T | Perkins 100KVA Water-Cooled | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | PERKINS | 100 KVAGENE | OTHER
283 | 1053878 | 1053878 | FALSE | FALSE | Perkins | Perkins | Perkins 100KVA Water-Cooled | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | PERKINS | 100 KVAGENE | OTHER
313 | 1053882 | 1053882 | FALSE | FALSE | Perkins | PERKINS 1106A-70T | GENERATOR PERKINS 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS | PERKINS 150 KVA | UNHCR
299 | 1053883 | 1053883 | FALSE | FALSE | Perkins | Perkin | Perkins 150 KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS | PERKINS 150 KVA | UNHCR
275 | 1053885 | 1053885 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS | PERKINS 150 KVA | UNHCR
197 | 1049560 | 1049560 | FALSE | FALSE | Perkins | Perkins 1106A-70TA | Perkins 200KVA | 200 | GEN, PERKINS, 200 KVA PRIME PO | GEN, PERKINS, 200 KVA PRIME PO |  |  | UNHCR
198 | 1049561 | 1049561 | FALSE | FALSE | Perkins | Perkins 1106A-70TA | perkins 200 KVA | 200 | GEN, PERKINS, 200 KVA PRIME PO | GEN, PERKINS, 200 KVA PRIME PO |  |  | UNHCR
319 | 1048001 | 1048001 | FALSE | FALSE | Perkins | Perkins 1106A-70TA | Perkins 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | OTHER
361 | 1048021 | 1048021 | FALSE | FALSE | Perkins | DK32000U533814E | GENERATOR, PERKINS, WC/60 KVA WATER COOL | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
326 | 1048934 | 1048934 | FALSE | FALSE | Perkins | PP82576U069767E | GENERATOR, PERKINS 150 KVA WATER COOL | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
347 | 1048946 | 1048946 | FALSE | FALSE | Perkins | TGBF5012N03292B | 350 | 350 | PERKINS GEN 350 KVA, WATER COO | PERKINS GEN 350 KVA, WATER COO |  |  | UNHCR
301 | 1048947 | 1048947 | FALSE | FALSE | Perkins | Perkins | Perkins 350KVA Water-Cooled | 350 | PERKINS GEN 350 KVA, WATER COO | PERKINS GEN 350 KVA, WATER COO |  |  | UNHCR
360 | 1048949 | 1048949 | FALSE | FALSE | Perkins | DK320U529271E | GENERATOR, PERKINS, WC/60 KVA WATER COOL | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
278 | 1048950 | 1048950 | FALSE | FALSE | Perkins | Perkins ECO SP 10s-LP | Perkins 250KVA Water-Cooled 60 KVA | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
329 | 1048952 | 1048952 | FALSE | FALSE | Perkins | DK320U520383D | GENERATOR, PERKINS, WC/60 KVA WATER COOL | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | UNHCR
71 | 1064289 | 1064289 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
78 | 1064291 | 1064291 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
80 | 1064294 | 1064294 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
77 | 1064296 | 1064296 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
74 | 1064297 | 1064297 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
67 | 1064299 | 1064299 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
68 | 1064300 | 1064300 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
69 | 1064302 | 1064302 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
79 | 1064303 | 1064303 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
157 | 1060749 | 1060749 | FALSE | FALSE | Caterpillar | CAT C4.4 | DE110E2 LC3114F | 110 | GEN, CATERPILLAR, PRIME 100KVA | GEN, CATERPILLAR, PRIME 100KVA |  |  | UNHCR
112 | 1060768 | 1060768 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | OTHER
113 | 1060769 | 1060769 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | OTHER
4 | 1058137 | 1058137 | FALSE | FALSE | Generac | Perkings | KING RGU80PS | 45 | GENERATOR, 45 KVA, PRIME | GENERATOR, 45 KVA, PRIME |  | Generator 45 KVA, Diesel | UNHCR
99 | 1082308 | 1082308 | FALSE | FALSE | AKSA | AKSA APD 16A | AKSA 15.5 KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD 16A | OTHER
101 | 1082310 | 1082310 | FALSE | FALSE | AKSA | AKSA APD 16A | AKSA 15.5 KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD 16A | OTHER
102 | 1082311 | 1082311 | FALSE | FALSE | AKSA | AKSA APD 16A | AKSA 15.5 KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD 16A | OTHER
106 | 1082313 | 1082313 | FALSE | FALSE | AKSA | AKSA APD20A | AKSA 20KVA | 20 | GEN, AKSA APD20A, 20 KVA, DIES | GEN, AKSA APD20A, 20 KVA, DIES | AKSA | APD 20A | OTHER
103 | 1082314 | 1082314 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES | AKSA | APD 33A | OTHER
115 | 1082317 | 1082317 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES | AKSA | APD 33A | OTHER
202 | 1077080 | 1077080 | FALSE | FALSE | Perkins | Perkins | DE22E3 | 22 | GENERATOR CATERPILLAR 16KVA PO | GENERATOR CATERPILLAR 16KVA PO |  |  | UNHCR
88 | 1071445 | 1071445 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
143 | 1071448 | 1071448 | FALSE | FALSE | AKSA | AKSA AAP 8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
141 | 1071450 | 1071450 | FALSE | FALSE | AKSA | AKSA AAP 8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
140 | 1071452 | 1071452 | FALSE | FALSE | AKSA | AKSA APD16A | AKSA 8.5 KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
85 | 1071453 | 1071453 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
82 | 1071455 | 1071455 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
83 | 1071456 | 1071456 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
262 | 1073850 | 1073850 | FALSE | FALSE | GENERAC | GENERAC OL3116 | GENERAC XC6500E Portable Generator | 6 | GENERATOR, GENERAC XC6500E, PO | GENERATOR, GENERAC XC6500E, PO |  |  | UNHCR
330 | 1072597 | 1072597 | FALSE | FALSE | Perkins | BP84126U002882E | PERKINS GEN 250 KVA, WATER COO | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO | Perkins 250 KVA | Perkins 250 KVA | UNHCR
132 | 1082995 | 1082995 | FALSE | FALSE | AKSA | AKSA APD17MA | AKSA 12KVA | 12 | GEN, AKSA APD17MA, 11 KVA, DIE | GEN, AKSA APD17MA, 11 KVA, DIE |  |  | UNHCR
130 | 1082997 | 1082997 | FALSE | FALSE | AKSA | AKSA APD25A | AKSA 25KVA | 25 | GEN, AKSA APD25A, 22 KVA, DIES | GEN, AKSA APD25A, 22 KVA, DIES |  |  | UNHCR
131 | 1082998 | 1082998 | FALSE | FALSE | AKSA | AKSA APD25A | AKSA 25KVA | 25 | GEN, AKSA APD25A, 22 KVA, DIES | GEN, AKSA APD25A, 22 KVA, DIES |  |  | UNHCR
92 | 1102871 | 1102871 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | OTHER
146 | 1105633 | 1105633 | FALSE | FALSE | AKSA | AKSA APD16A | AKSA 15.5KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD16A | OTHER
108 | 1105636 | 1105636 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES | AKSA | APD50A | OTHER
167 | 1098794 | 1098794 | FALSE | FALSE | Caterpillar | Cat C9 | CAT C9 | 250 | GENERATOR, CATERPILLAR, 230KVA | GENERATOR, CATERPILLAR, 230KVA |  |  | UNHCR
91 | 1100332 | 1100332 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | OTHER
97 | 1114401 | 1114401 | FALSE | FALSE | AKSA | AKSA APD12MA | AKSA 8.5KVA | 9 | GEN, AKSA APD12MA, 8.5 KVA, DI | GEN, AKSA APD12MA, 8.5 KVA, DI |  | APD12MA | OTHER
96 | 1114402 | 1114402 | FALSE | FALSE | AKSA | AKSA APD12MA | AKSA 8.5KVA | 9 | GEN, AKSA APD12MA, 8.5 KVA, DI | GEN, AKSA APD12MA, 8.5 KVA, DI |  | APD12MA | OTHER
98 | 1114403 | 1114403 | FALSE | FALSE | AKSA | AKSA APD12MA | AKSA 8.5KVA | 9 | GEN, AKSA APD12MA, 8.5 KVA, DI | GEN, AKSA APD12MA, 8.5 KVA, DI |  | APD12MA | OTHER
110 | 1114404 | 1114404 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES |  | APD33A | OTHER
10 | 1118068 | 1118068 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE50EO LC1514L | 50 | GEN, CATERPILLAR, 45KVA PRIME | GEN, CATERPILLAR, 45KVA PRIME |  |  | UNHCR
32 | 1118069 | 1118069 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE50EO LC1514L | 50 | GEN, CATERPILLAR, 45KVA PRIME | GEN, CATERPILLAR, 45KVA PRIME |  |  | UNHCR
159 | 1116492 | 1116492 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE65E0 LC1514P | 65 | GEN, CATERPILLAR, 60KVA PRIME | GEN, CATERPILLAR, 60KVA PRIME |  |  | UNHCR
28 | 1111599 | 1111599 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE33E0 LC1514F | 30 | GEN, CATERPILLAR, 30KVA PRIME | GEN, CATERPILLAR, 30KVA PRIME | CATERPILLAR | DE33GC | UNHCR
95 | 1110108 | 1110108 | FALSE | FALSE | AKSA | AKSA APD12MA | AKSA 8.5KVA | 9 | GEN, AKSA APD12MA, 8.5 KVA, DI | GEN, AKSA APD12MA, 8.5 KVA, DI |  | APD12MA | OTHER
194 | 1107508 | 1107508 | FALSE | FALSE | Perkins | GV83540R | Perkins 20 KVA | 20 | GENERATOR, PERKINS, 20KVA | GENERATOR, PERKINS, 20KVA |  |  | OTHER
15 | 1110710 | 1110710 | FALSE | FALSE | SVF | SVF TF17D6 | SVF TF17D6 | 17 | GENERATOR | GENERATOR | Grupo Electrogeno Cabinado | TF17D6 | UNHCR
93 | 1107770 | 1107770 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN, AKSA AAP 8000DA, 8.5 KVA, | GEN, AKSA AAP 8000DA, 8.5 KVA, |  |  | OTHER
16 | 1129478 | 1129478 | FALSE | FALSE | Caterpillar | CAT | 7K305662 | 110 | GEN, CATERPILLAR, 80KVA PRIME | GEN, CATERPILLAR, 80KVA PRIME |  |  | UNHCR
7 | 1129479 | 1129479 | FALSE | FALSE | Caterpillar | CAT C4.4 | DE110E2 LC3114F | 110 | GEN, CATERPILLAR, 80KVA PRIME | GEN, CATERPILLAR, 80KVA PRIME |  |  | UNHCR
6 | 1129480 | 1129480 | FALSE | FALSE | Caterpillar | CAT C4.4 | DE110E2 LC3114F | 110 | GEN, CATERPILLAR, 80KVA PRIME | GEN, CATERPILLAR, 80KVA PRIME |  |  | UNHCR
109 | 1129774 | 1129774 | FALSE | FALSE | AKSA | AKSA APD20A | AKSA 20KVA | 20 | GEN, AKSA APD20A, 20 KVA, DIES | GEN, AKSA APD20A, 20 KVA, DIES |  |  | UNHCR
148 | 1131286 | 1131286 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | UNHCR
134 | 1120605 | 1120605 | FALSE | FALSE | Perkins | Perkins GE.PK.166\150.LT+011 | Perkins 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
133 | 1120606 | 1120606 | FALSE | FALSE | Perkins | Perkins GE.PK.166\150.LT+011 | Perkins 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
135 | 1120612 | 1120612 | FALSE | FALSE | SHAKURA | ZHONGLING 6120U | SHAKURA 10KVA | 10 | GENERATOR | GENERATOR | Shakura |  | UNHCR
136 | 1120613 | 1120613 | FALSE | FALSE | SHAKURA | ZHONGLING 6120U | SHAKURA 10KVA | 10 | GENERATOR | GENERATOR | Shakura |  | UNHCR
137 | 1120614 | 1120614 | FALSE | FALSE | SHAKURA | ZHONGLING 6120U | SHAKURA 10KVA | 10 | GENERATOR | GENERATOR | Shakura |  | UNHCR
138 | 1120615 | 1120615 | FALSE | FALSE | SHAKURA | ZHONGLING 6120U | SHAKURA 10KVA | 10 | GENERATOR | GENERATOR |  |  | UNHCR
41 | 1119922 | 1119922 | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 60 | GENERATOR, POWERLINK, 60KVA, W | GENERATOR, POWERLINK, 60KVA, W | Peak International Trade (Tianjin)Co.,Lda | WPS605 | UNHCR
209 | 1119940 | 1119940 | FALSE | FALSE | Cummins | CUMMIS | WPS60S | 60 | GENERATOR, POWERLINK, 60KVA, W | GENERATOR, POWERLINK, 60KVA, W |  |  | UNHCR
156 | 1123294 | 1123294 | FALSE | FALSE | Caterpillar | CAT C7.1 | DE220E0 LC5014F | 220 | GENERATOR, CATERPILLAR, PRIME | GENERATOR, CATERPILLAR, PRIME | Caterpiller | C7.1 | UNHCR
160 | 1123295 | 1123295 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE33E0 LC1514F | 33 | GEN, CATERPILLAR, 30KVA PRIME | GEN, CATERPILLAR, 30KVA PRIME | Caterpiller | C3.3 | UNHCR
212 | 1142580 | 1142580 | FALSE | FALSE | Cummins | 1104C-44TA | WPS45S | 45 | GENERATOR, POWERLINK, 45KVA, W | GENERATOR, POWERLINK, 45KVA, W |  |  | UNHCR
213 | 1142581 | 1142581 | FALSE | FALSE | Cummins | 1104C-44TA | WPS45S | 45 | GENERATOR, POWERLINK, 45KVA, W | GENERATOR, POWERLINK, 45KVA, W |  |  | UNHCR
205 | 1142583 | 1142583 | FALSE | FALSE | Cummins | 1104C-44TA | WPS100S | 100 | GENERATOR, POWERLINK, 100KVA, | GENERATOR, POWERLINK, 100KVA, |  |  | UNHCR
208 | 1142584 | 1142584 | FALSE | FALSE | Cummins | CUMMINS | WPS100S | 100 | GENERATOR, POWERLINK, 100KVA, | GENERATOR, POWERLINK, 100KVA, |  |  | UNHCR
90 | 1143292 | 1143292 | FALSE | FALSE | AKSA | AKSA APD12A | AKSA 11.5KVA | 12 | GEN, AKSA APD12A, 11.5 KVA, DI | GEN, AKSA APD12A, 11.5 KVA, DI |  |  | UNHCR
152 | 1139194 | 1139194 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | UNHCR
153 | 1139195 | 1139195 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | UNHCR
111 | 1135812 | 1135812 | FALSE | FALSE | AKSA | AKSA APD12A | AKSA 11.5KVA | 12 | GEN, AKSA APD12A, 11.5 KVA, DI | GEN, AKSA APD12A, 11.5 KVA, DI |  |  | UNHCR
147 | 1135906 | 1135906 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES |  |  | UNHCR
29 | 1137440 | 1137440 | FALSE | FALSE | Caterpillar | DE88GC | Caterpillar 80 Kva | 80 | GEN, CATERPILLAR, 80KVA PRIME | GEN, CATERPILLAR, 80KVA PRIME |  |  | UNHCR
267 | 648234 | 648234 | FALSE | FALSE | Perkins | Perkins 1104C-44TAG2 | PERKINS 100 KVA WATER COOLED | 100 | PERKINS GEN 100 KVA, WATER COO | PERKINS GEN 100 KVA, WATER COO | Perkins | 2016 | UNHCR
291 | 648463 | 648463 | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250 KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
293 | 648465 | 648465 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
294 | 648466 | 648466 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
296 | 648468 | 648468 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
265 | 648484 | 648484 | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | UNHCR
268 | 648485 | 648485 | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | UNHCR
286 | 648721 | 648721 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
287 | 648722 | 648722 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
314 | 648724 | 648724 | FALSE | FALSE | Perkins | PERKINS 1106A- 70TA | Generator Perkins, 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
312 | 648727 | 648727 | FALSE | FALSE | Perkins | PERKINS 1106A-70TAG2 | GENERATOR, PERKINS150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
315 | 648728 | 648728 | FALSE | FALSE | Perkins | Perkins 1106A-70TAG2 | Generator Perkins ,150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
318 | 648729 | 648729 | FALSE | FALSE | Perkins | Perkins 1106A-70TAG2 | Perkins 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
316 | 648730 | 648730 | FALSE | FALSE | Perkins | Perkins 1106A-70TAG2 | Perkins 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
332 | 648761 | 648761 | FALSE | FALSE | Perkins | MGBF5083N02888A | GENERATOR, PERKINS, 500 KVA WATER COOL | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
333 | 648762 | 648762 | FALSE | FALSE | Perkins | MGBF5083N04471B | GENERATOR, PERKINS, 500 KVA WATER COOL | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
335 | 648764 | 648764 | FALSE | FALSE | Perkins | MGBF5083N04805B | GENERATOR, PERKINS, 500 KVA WATER COOL | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
336 | 648765 | 648765 | FALSE | FALSE | Perkins | MGBF5083N04499B | GENERATOR, PERKINS, 500 KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
337 | 648766 | 648766 | FALSE | FALSE | Perkins | MGBF5083N04506B | GENERATOR, PERKINS, 500 KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
338 | 648768 | 648768 | FALSE | FALSE | Perkins | MGBF5083N04482B | GENERATOR, PERKINS, 500 KVA WATER COOL | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
339 | 648769 | 648769 | FALSE | FALSE | Perkins | MGBF5083N04472B | GENERATOR, PERKINS, 500 KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
340 | 648770 | 648770 | FALSE | FALSE | Perkins | MGBF5083N04500B | GENERATOR, PERKINS, 500 KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
309 | 648795 | 648795 | FALSE | FALSE | Perkins | Perkins 1106A-70TA | Generator Perkins, 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | OTHER
342 | 648797 | 648797 | FALSE | FALSE | Perkins | 1612 140 170112 022 | GENERATOR, PERKINS 150 KVA WATER COOLER | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | OTHER
272 | 648798 | 648798 | FALSE | FALSE | Perkins | Perkins 1106A-70TAG3 | PMD180S | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
273 | 648799 | 648799 | FALSE | FALSE | Perkins | Perkins 1106A-70TAG2 | Perkins 150 KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
321 | 1014177 | 1014177 | FALSE | FALSE | Perkins | MGBF5083N07167C | PERKINS GEN 500 KVA, WATER COO | 500 | PERKINS GEN 500 KVA, WATER COO | PERKINS GEN 500 KVA, WATER COO |  |  | UNHCR
324 | 1014200 | 1014200 | FALSE | FALSE | Perkins | PR82216U055307B | GEN, PERKINS, 200 KVA PRIME PO | 200 | GEN, PERKINS, 200 KVA PRIME PO | GEN, PERKINS, 200 KVA PRIME PO |  |  | UNHCR
118 | 1009030 | 1009030 | FALSE | FALSE | BG | BGTFD6500T | BG 5KVA | 5 | GENERATOR | GENERATOR | BG | BGTF6500T | UNHCR
43 | 1009032 | 1009032 | FALSE | FALSE | Fujian Yihua | China made | BGTFD6500T | 8 | GENERATOR | GENERATOR | BG | BGTF6500T | OTHER
356 | 1014344 | 1014344 | FALSE | FALSE | Perkins | 711-125A-171120-0874 | PERKINS, 60 KVA WATER COOLER | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | OTHER
206 | 1012234 | 1012234 | FALSE | FALSE | FG WILSON | DK8265705007938C | P65-5 | 65 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | UNHCR
211 | 1012236 | 1012236 | FALSE | FALSE | FG WILSON | DK | P33-5 | 33 | GEN, PERKINS, 30 KVA PRIME POW | GEN, PERKINS, 30 KVA PRIME POW |  |  | UNHCR
196 | 1007320 | 1007320 | FALSE | FALSE | Perkins | Perkins 2506/1500 | Perkins 60KVA | 60 | GENERATOR, CUMMINS, 60KVA | GENERATOR, CUMMINS, 60KVA |  |  | OTHER
26 | 1007322 | 1007322 | FALSE | FALSE | Perkins | Perkins 1103A-33T | GENERATOR, CUMMINS, 60KVA | 60 | GENERATOR, CUMMINS, 60KVA | GENERATOR, CUMMINS, 60KVA |  |  | UNHCR
8 | 1006900 | 1006900 | FALSE | FALSE | Perkins | 1106A-70TA | PERKIN 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
62 | 1032536 | 1032536 | FALSE | FALSE | Perkins | Perkins GG88PS-O | Perkins 88KVA | 88 | GEN,PERKINS, 80 KVA, WATER COO | GEN,PERKINS, 80 KVA, WATER COO | ENERGYPAC | VC1224G1,A15E221647 | OTHER
308 | 1035070 | 1035070 | FALSE | FALSE | Perkins | 1104A-44T | GNERATOR, PERKINZ,80KVA Pri | 80 | GENERATOR, PERKINS, 80 KVA Pri | GENERATOR, PERKINS, 80 KVA Pri | Perkins | Perkins 80 KVA | OTHER
64 | 1034336 | 1034336 | FALSE | FALSE | AKSA | AKSA APD66C | AKSA 66KVA | 66 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW | AKSA & Turkey | APD66C | OTHER
18 | 1036745 | 1036745 | FALSE | FALSE | Caterpillar | CAT C7.1 | DE220E0 LC5014F | 220 | GEN, CATERPILLAR, PRIME 200KVA | GEN, CATERPILLAR, PRIME 200KVA |  |  | UNHCR
120 | 1035186 | 1035186 | FALSE | FALSE | Brand (Not idenitifiable) | Manufacturer, Engine (Not idenitifiable) | KDE12T | 10 | GENERATOR | GENERATOR | Genline |  | UNHCR
49 | 1035189 | 1035189 | FALSE | FALSE | Fujian Yihua | China made | KDE12T | 10 | GENERATOR | GENERATOR | GenlineGenline |  | OTHER
60 | 1032133 | 1032133 | FALSE | FALSE | Perkins | Perkins GG44PS-O | Perkins 44KVA | 44 | GENERATOR | GENERATOR |  | parkins | OTHER
359 | 1043490 | 1043490 | FALSE | FALSE | Perkins | DJ83399S019254EGENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA, WATER COOL | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA | Perkins 60 KVA generator | 60 KVA generator | OTHER
344 | 1042867 | 1042867 | FALSE | FALSE | Perkins | RJ51175U676547E | GENERATOR, PERKINS, 100 KVA | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | Perkins 100 KVA generator | 100 KVA generator | OTHER
210 | 1016863 | 1016863 | FALSE | FALSE | FG WILSON | 11D3A-33TG2 | P55-5 | 55 | GENERATOR, PERKINS, WC/50 KVA | GENERATOR, PERKINS, WC/50 KVA |  |  | UNHCR
125 | 1029475 | 1029475 | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 33 | GEN, PERKINS, 30 KVA PRIME POW | GEN, PERKINS, 30 KVA PRIME POW |  |  | OTHER
55 | 1027459 | 1027459 | FALSE | FALSE | Fujian Yihua | China brand | KDE6500T | 6 | GENERATOR | GENERATOR | Genline | Genline | OTHER
53 | 1027461 | 1027461 | FALSE | FALSE | Fujian Yihua | China made | KDE6500T | 6 | GENERATOR | GENERATOR | Genline | Genline | OTHER
139 | 1016360 | 1016360 | FALSE | FALSE | Meico | Meico MPG 0200PKSD C75-50 | Meico 200KVA | 200 | GEN, PERKINS, 200 KVA PRIME PO | GEN, PERKINS, 200 KVA PRIME PO |  |  | UNHCR
81 | 1064293 | 1064293 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
76 | 1064295 | 1064295 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
75 | 1064298 | 1064298 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
66 | 1064301 | 1064301 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5 KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
73 | 1064304 | 1064304 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
13 | 1060639 | 1060639 | FALSE | FALSE | Generac | Generac | RG04524ANAX | 45 | GENERATOR, 45 KVA, PRIME | GENERATOR, 45 KVA, PRIME |  | Generator 45 KVA, Diesel | UNHCR
276 | 1054942 | 1054942 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 350 | PERKINS GEN 350 KVA, WATER COO | PERKINS GEN 350 KVA, WATER COO | PERKINS | GEN, PERKINS, 350 KVA PRIME | UNHCR
2 | 1050148 | 1050148 | FALSE | FALSE | Perkins | Perkens | Perkens | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA |  |  | UNHCR
311 | 1048002 | 1048002 | FALSE | FALSE | Perkins | 1104C-44TA | GENERATOR PERKINS ,100 KVA | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA |  |  | UNHCR
280 | 1053872 | 1053872 | FALSE | FALSE | Perkins | Perkins 1103A-33T | Perkins 60KVA Water-Cooled | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
290 | 1053876 | 1053876 | FALSE | FALSE | Perkins | Perkins | Perkins 100KVA Water-Cooled | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | PERKINSPERKINS | 100 KVAGENE | OTHER
284 | 1053879 | 1053879 | FALSE | FALSE | Perkins | Perkins | Perkins 100KVA Water-Cooled | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | PERKINS | 100 KVAGENE | OTHER
279 | 1053881 | 1053881 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS | PERKINS 150 KVA | OTHER
274 | 1053884 | 1053884 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS | PERKINS 150 KVA | UNHCR
306 | 1053887 | 1053887 | FALSE | FALSE | Perkins | 1206A-E70TTAG3 | Perkins GEN 250KVA ,Water cooler | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO | GEN, PERKINS | 250 KVA PRIME | UNHCR
325 | 1048933 | 1048933 | FALSE | FALSE | Perkins | PP82576U069792E | GENERATOR, PERKINS 150 KVA WATER COOL | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
327 | 1048935 | 1048935 | FALSE | FALSE | Perkins | PP82576U069504E | GENERATOR, PERKINS 150 KVA | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
289 | 1048940 | 1048940 | FALSE | FALSE | Perkins | Perkins | Perkins 100 KVA Water-Cooled | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA |  |  | OTHER
300 | 1048945 | 1048945 | FALSE | FALSE | Perkins | Perkins | Perkins 350KVA Water-Cooled | 350 | PERKINS GEN 350 KVA, WATER COO | PERKINS GEN 350 KVA, WATER COO |  |  | UNHCR
358 | 1048948 | 1048948 | FALSE | FALSE | Perkins | DK320U533700E | GENERATOR, PERKINS, WC/60 KVA | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | OTHER
305 | 1048951 | 1048951 | FALSE | FALSE | Perkins | 1103A-33T | Generator, Perkins , WC/60 KVA | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA |  |  | UNHCR
354 | 1049010 | 1049010 | FALSE | FALSE | Perkins | DJ32003U525919E | GENERATOR, PERKINS, 60 KVA, WATER COOLER | 60 | GENERATOR, PERKINS, 45 KVA,STA | GENERATOR, PERKINS, 45 KVA,STA |  |  | OTHER
100 | 1082309 | 1082309 | FALSE | FALSE | AKSA | AKSA APD 16A | AKSA 15.5 KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD 16A | OTHER
105 | 1082312 | 1082312 | FALSE | FALSE | AKSA | AKSA APD20A | AKSA 20KVA | 20 | GEN, AKSA APD20A, 20 KVA, DIES | GEN, AKSA APD20A, 20 KVA, DIES | AKSA | APD 20A | OTHER
104 | 1082315 | 1082315 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES | AKSA | APD 33A | OTHER
203 | 1077079 | 1077079 | FALSE | FALSE | Caterpillar | Perkins | DE22E3 | 22 | GENERATOR CATERPILLAR 16KVA PO | GENERATOR CATERPILLAR 16KVA PO |  |  | UNHCR
204 | 1077081 | 1077081 | FALSE | FALSE | Caterpillar | PERKINS | DE22E3 | 22 | GENERATOR CATERPILLAR 16KVA PO | GENERATOR CATERPILLAR 16KVA PO |  |  | UNHCR
87 | 1071446 | 1071446 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
142 | 1071449 | 1071449 | FALSE | FALSE | AKSA | AKSA AAP 8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
145 | 1071451 | 1071451 | FALSE | FALSE | AKSA | AKSA AAP 8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
84 | 1071454 | 1071454 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
166 | 1098793 | 1098793 | FALSE | FALSE | Caterpillar | Cat C9 | CAT C9 | 250 | GENERATOR, CATERPILLAR, 230KVA | GENERATOR, CATERPILLAR, 230KVA |  |  | UNHCR
129 | 1082996 | 1082996 | FALSE | FALSE | AKSA | AKSA APD17MA | AKSA 11KVA | 11 | GEN, AKSA APD17MA, 11 KVA, DIE | GEN, AKSA APD17MA, 11 KVA, DIE |  |  | UNHCR
144 | 1105634 | 1105634 | FALSE | FALSE | AKSA | AKSA APD16A | AKSA 15.5KVA | 16 | GEN, AKSA APD16A, 15.5 KVA, DI | GEN, AKSA APD16A, 15.5 KVA, DI | AKSA | APD16A | OTHER
149 | 1131287 | 1131287 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES |  |  | UNHCR
161 | 1123296 | 1123296 | FALSE | FALSE | Caterpillar | CAT C3.3 | DE65E0 LC1514P | 65 | GEN, CATERPILLAR, 60KVA PRIME | GEN, CATERPILLAR, 60KVA PRIME | Caterpiller | C3.3 | UNHCR
40 | 1108474 | 1108474 | FALSE | FALSE | Perkins | 1103A-33TG2 | GB-P60/S | 60 | GEN, CUMMINS, 66 KVA | GEN, CUMMINS, 66 KVA | GB Power Co Ltd | GB-P60/S | UNHCR
14 | 1110709 | 1110709 | FALSE | FALSE | SVF | svf | TF17D6 | 17 | GENERATOR | GENERATOR | Grupo Electrogeno Cabinado | TF17D6 | UNHCR
158 | 1116491 | 1116491 | FALSE | FALSE | Caterpillar | CAT C4.4 | DE110E2 LC3114F | 110 | GENERATOR, CATERPILLAR, PRIME | GENERATOR, CATERPILLAR, PRIME | CATAPILLAR | DE110E2 | UNHCR
116 | 1129775 | 1129775 | FALSE | FALSE | AKSA | AKSA APD20A | AKSA 20KVA | 20 | GEN, AKSA APD20A, 20 KVA, DIES | GEN, AKSA APD20A, 20 KVA, DIES |  |  | UNHCR
94 | 1110639 | 1110639 | FALSE | FALSE | AKSA | AKSA APD12A | AKSA 11.5KVA | 12 | GEN, AKSA APD12A, 11.5 KVA, DI | GEN, AKSA APD12A, 11.5 KVA, DI |  | APD12A | OTHER
292 | 648464 | 648464 | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
295 | 648467 | 648467 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA PRIME POWER | OTHER
297 | 648469 | 648469 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | OTHER
269 | 648486 | 648486 | FALSE | FALSE | Perkins | Pekins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | UNHCR
270 | 648488 | 648488 | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | UNHCR
288 | 648723 | 648723 | FALSE | FALSE | Perkins | Perkins | Perkins 150KVA Water-Cooled | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  | PERKINS 150 KVA | OTHER
155 | 1139196 | 1139196 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES |  |  | UNHCR
45 | 1009029 | 1009029 | FALSE | FALSE | Fujian Yihua | China made | BGTFD6500T | 8 | GENERATOR | GENERATOR | BG | BGTF6500T | OTHER
23 | 1024025 | 1024025 | FALSE | FALSE | Perkins | Perkins 1103A-33T | Model Year: 2015 | 60 | GEN, PERKINS, 60 KVA PRIME POW | GEN, PERKINS, 60 KVA PRIME POW |  |  | UNHCR
303 | 1011564 | 1011564 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  |  | UNHCR
357 | 1024366 | 1024366 | FALSE | FALSE | Perkins | DK32000U503409C | GENERATOR, PERKINS, WC/60 KVA WATER COOLER | 60 | GENERATOR, PERKINS, WC/60 KVA | GENERATOR, PERKINS, WC/60 KVA | Perkins 60 KVA | Perkins 60 KVA | OTHER
323 | 1014179 | 1014179 | FALSE | FALSE | Perkins | MGBF5083N07177C | PERKINS GEN 500 KVA, WATER COO | 500 | PERKINS GEN 500 KVA, WATER COO | PERKINS GEN 500 KVA, WATER COO |  |  | UNHCR
89 | 1090173 | 1090173 | FALSE | FALSE | AKSA | AKSA APD12MA | AKSA 8.5KVA | 9 | GEN, AKSA APD12MA, 8.5 KVA, DI | GEN, AKSA APD12MA, 8.5 KVA, DI |  | APD12MA | OTHER
107 | 1105635 | 1105635 | FALSE | FALSE | AKSA | AKSA APD50A | AKSA 50KVA | 50 | GEN, AKSA APD50A, 50 KVA, DIES | GEN, AKSA APD50A, 50 KVA, DIES | AKSA | APD50A | OTHER
86 | 1071447 | 1071447 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
63 | 1032535 | 1032535 | FALSE | FALSE | Perkins | Perkins GG88PS-O | Perkins 88KVA | 88 | GEN,PERKINS, 80 KVA, WATER COO | GEN,PERKINS, 80 KVA, WATER COO | ENERGYPAC | VC1224G1,C18E209153 | OTHER
114 | 1082316 | 1082316 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES | AKSA | APD 33A | OTHER
70 | 1064290 | 1064290 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
72 | 1064305 | 1064305 | FALSE | FALSE | AKSA | AKSA AAP8000DE | AKSA 8.5KVA | 9 | GEN 5 KVA PORTABLE PETROL/DIES | GEN 5 KVA PORTABLE PETROL/DIES |  |  | OTHER
121 | 1035188 | 1035188 | FALSE | FALSE | Brand (Not idenitifiable) | Manufacturer, Engine (Not idenitifiable) | KDE12T | 10 | GENERATOR | GENERATOR | Genline |  | OTHER
328 | 1048936 | 1048936 | FALSE | FALSE | Perkins | PP82576U069976E | GENERATOR, PERKINS 150 KVA WATER COOL | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
277 | 1053880 | 1053880 | FALSE | FALSE | Perkins | Perkins | Perkins 100 KVA Water-Cooled" | 100 | GENERATOR, PERKINS, 100 KVA | GENERATOR, PERKINS, 100 KVA | PERKINS | 100 KVAGENE | UNHCR
154 | 1141290 | 1141290 | FALSE | FALSE | AKSA | AKSA APD33A | AKSA 33KVA | 33 | GEN, AKSA APD33A, 33 KVA, DIES | GEN, AKSA APD33A, 33 KVA, DIES |  |  | UNHCR
304 | 648487 | 648487 | FALSE | FALSE | Perkins | Perkins | Perkins 250KVA Water-Cooled | 250 | PERKINS GEN 250 KVA, WATER COO | PERKINS GEN 250 KVA, WATER COO |  | PERKINS 250KVA | UNHCR
334 | 648763 | 648763 | FALSE | FALSE | Perkins | MGBF5083N04776B | GENERATOR, PERKINS, 500 KVA | 500 | GENERATOR, PERKINS, 500 KVA | GENERATOR, PERKINS, 500 KVA |  | PERKINS 500KVA | UNHCR
331 | 648794 | 648794 | FALSE | FALSE | Perkins | PR82148*U056610B* | GENERATOR, PERKINS 150 KVA WATER COOL | 150 | GENERATOR, PERKINS 150 KVA | GENERATOR, PERKINS 150 KVA |  |  | UNHCR
388 | 851567 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
363 | 833021 |  | FALSE | FALSE | Caterpillar | CAT C4.4 | DE88E0 LC3114D | 88
452 | 852380 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45KVA Prime | Generator, Caterpillar, 45KVA Prime | 45
234 | 661715 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | DGPS-65 | 60
406 | 851524 |  | FALSE | FALSE | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | 16
447 | 851722 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 80KVA Prime | Generator, Caterpillar, 80KVA Prime | 80
223 | 690362 |  | FALSE | FALSE | Perkins | 13P | 13P | 13
175 | 431545 |  | FALSE | FALSE | Perkins | Perkins | Perkins | 150
258 | 650235 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG1 | WPS45S | 30
422 | 851720 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 80 KVA Prime | Generator, Caterpillar, 80 KVA Prime | 80
418 | 851703 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 20 KVA Prime | Generator, Caterpillar, 20 KVA Prime | 20
424 | 852341 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
453 | 826109 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
389 | 851579 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
231 | 718094 |  | FALSE | FALSE | Perkins | Perkins 403D-11G | YNS6.5PE-II | 10
174 | 430830 |  | FALSE | FALSE | FG Wilson | FG Wilson | FG Wilson | 150
249 | 119163 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | PP30S | 100
399 | 852335 |  | FALSE | FALSE | Perkins | Generator, Perkins, 30 KVA Prime. | Generator, Perkins, 30 KVA Prime. | 30
238 | 742628 |  | FALSE | FALSE | Perkins | Perkins 1104C‐44TAG2 | WPS100S | 45
427 | 852344 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
391 | 851563 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
380 | 705202 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
407 | 851533 |  | FALSE | FALSE | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | 16
462 | 852353 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
260 | 742631 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 30
432 | 852349 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
448 | 851724 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 80KVA Prime | Generator, Caterpillar, 80KVA Prime | 80
417 | 851702 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 20 KVA Prime | Generator, Caterpillar, 20 KVA Prime | 20
370 | 705191 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
221 | 499970 |  | FALSE | FALSE | Perkins | P13 | P13 | 13
177 | 432213 |  | FALSE | FALSE | Perkins | Perkins SNo. WGHF7204N12460Y | Perkins 250 KVA Water Cooled | 250
250 | 742626 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 66
271 | 648510 |  | FALSE | FALSE | Perkins | Perkins 1506A-E88TAG3 | Perkins 250KVA Water-Cooled | 250
193 | 643836 |  | FALSE | FALSE | Lister Petter | Lister Petter No 14000107LPW3A27 | Lister Petter 12,4 KW | 10
458 | 851586 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
402 | 852336 |  | FALSE | FALSE | Perkins | Generator, Perkins, 30 KVA Prime. | Generator, Perkins, 30 KVA Prime. | 30
408 | 851538 |  | FALSE | FALSE | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | 16
372 | 705193 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
464 | 852362 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
378 | 705200 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
450 | 852376 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45KVA Prime | Generator, Caterpillar, 45KVA Prime | 45
383 | 705185 |  | FALSE | FALSE | Bizon | Bizon | WDS B5T 210 | 48
232 | 718280 |  | FALSE | FALSE | DAYLIFE | DG8000D | DG8000D | 6
317 | 648192 |  | FALSE | FALSE | TEKSAN | TEKSAN 1003TG | TESAN 40 KVA | 40
264 | 591282 |  | FALSE | FALSE | Perkins | Perkins 1004 TG | SLV 60 A | 60
42 | 705183 |  | FALSE | FALSE | Bizon | Bizon | WDS B025T 180 | 45
183 | 3803975 |  | FALSE | FALSE | FG WILSON | 1103A-33TG2 | P 55-5 | 55
236 | 709473 |  | FALSE | FALSE | Perkins | Perkins 404A-22G1 | PP20S | 20
38 | 2601535 |  | FALSE | FALSE | Stamford | Perkins | Perkins 150 | 135
219 | 690340 |  | FALSE | FALSE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 165
440 | 852373 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
435 | 852358 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
455 | 833168 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
373 | 705194 |  | FALSE | FALSE | Bizon | Bizon | 8 | 8
307 | 494435 |  | FALSE | FALSE | CUKUROVA | 1103A-33TG1 | CJ | 50
5 | 8593400 |  | FALSE | FALSE | Generac | Generac G-Force | G0065512 | 22
0 | 429807 |  | FALSE | FALSE | Perkins | Perkens | Perkens 35Kva | 35
255 | 742797 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 30
439 | 852372 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
421 | 851581 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 80 KVA Prime | Generator, Caterpillar, 80 KVA Prime | 80
467 | 852356 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 20KVA Prime | Generator, Caterpillar,20 KVA Prime | 20
398 | 851540 |  | FALSE | FALSE | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | Generator, Bison, 16 KVA | 16
395 | 851577 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
390 | 851562 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
248 | 709923 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | KJ-P28 | 50
216 | 690341 |  | FALSE | FALSE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 165
256 | 709486 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 60
400 | 852328 |  | FALSE | FALSE | Perkins | Generator, Perkins, 30 KVA Prime. | Generator, Perkins, 30 KVA Prime. | 30
341 | 633121 |  | FALSE | FALSE | Perkins | 353547/73 | GENERATOR, PERKINS, WC/60 KVA | 60
253 | 742625 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 60
371 | 705192 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
189 | 2206893 |  | FALSE | FALSE | Caterpillar | Perkins | DE22E3 | 22
171 | 431340 |  | FALSE | FALSE | Perkins | S.NO 16585 | Perkins 80 KVA Water Cooled | 80
298 | 417983 |  | FALSE | FALSE | Perkins | Perkins | Perkins 80KVA Water-Cooled | 80
349 | 543001 |  | FALSE | FALSE | Perkins | N07563C | PERKINS GEN 250 KVA, WATER COOLER | 250
266 | 632740 |  | FALSE | FALSE | Perkins | Perkins A33G12762 | Perkins 135KVA Water Cooled | 135
229 | 709487 |  | FALSE | FALSE | Perkins | 1103A-33T | 1103A-33T | 60
416 | 852317 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12 KVA | Generator, Caterpillar, 12 KVA | 12
168 | 431173 |  | FALSE | FALSE | Perkins | S.No U907278T | Perkins 150 KVA Water Cooled | 150
379 | 705201 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
252 | 694876 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 100
187 | 3702493 |  | FALSE | FALSE | FG WILSON | 1104C-44TA | WPS33S | 33
405 | 852331 |  | FALSE | FALSE | Perkins | Generator, Perkins, 60 KVA Prime. | Generator, Perkins, 60 KVA Prime. | 60
463 | 852355 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
247 | 742385 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 100
257 | 709922 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 50
239 | 826778 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 30
426 | 852343 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
404 | 852326 |  | FALSE | FALSE | Perkins | Generator, Perkins, 60 KVA Prime. | Generator, Perkins, 60 KVA Prime. | 60
446 | 851728 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 30KVA Prime | Generator, Caterpillar, 30KVA Prime | 30
261 | 661711 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG2 | WPS60S | 45
251 | 709484 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | WPS30S | 100
456 | 851546 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
366 | 705178 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
419 | 851705 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 20 KVA Prime | Generator, Caterpillar, 20 KVA Prime | 20
428 | 852345 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
414 | 851535 |  | FALSE | FALSE | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | 60
434 | 852357 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
199 | 643820 |  | FALSE | FALSE | PERKINS | 41041414-020380 | 25KVA | 25
182 | 3805237 |  | FALSE | FALSE | FG WILSON | 1103A-33TG2 | P65-5 | 65
375 | 705196 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
367 | 705179 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
235 | 742629 |  | FALSE | FALSE | Perkins | Perkins 404A-22G1 | PP20S | 20
201 | 717974 |  | FALSE | FALSE | Perkins | PERKINS GV83540R044405E | PERKINS 20 KVA | 20
19 | 5291620 |  | FALSE | FALSE | Perkins | Perkins 1506A-7E88TAG3 | CDC 200 PS | 350
169 | 431341 |  | FALSE | FALSE | Perkins | S.No U297222V | Perkins 40 KVA Prime Pow | 40
454 | 826110 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
425 | 852342 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
180 | 2202012 |  | FALSE | FALSE | Perkins | 1104C-44TA | WPS100S | 100
12 | 1499892 |  | FALSE | FALSE | Perkins | PEP 23 | FGWPEP23LMWS00759 | 80
420 | 851588 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 60 KVA Prime | Generator, Caterpillar, 60 KVA Prime | 60
433 | 852350 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
200 | 717973 |  | FALSE | FALSE | PERKINS | GV83540R044531E | PERKINS 20KVA | 20
381 | 705203 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
397 | 581575 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
237 | 709488 |  | FALSE | FALSE | Perkins | 1103A-33T | WPS45S | 45
415 | 851539 |  | FALSE | FALSE | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | 60
441 | 852375 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
245 | 742630 |  | FALSE | FALSE | Perkins | Perkins 403D-15G | PMD12S.PH1 | 15
230 | 709485 |  | FALSE | FALSE | Perkins | Perkins 1104C-44TG2 | DGS-PR-0040 | 100
243 | 826777 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG1 | WPS45S | 30
429 | 852346 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
350 | 648809 |  | FALSE | FALSE | Perkins | N07551C | PERKINS GEN 250 KVA, WATER COOLER | 250
377 | 705199 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
437 | 852360 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
382 | 705204 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
466 | 852364 |  | FALSE | FALSE | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
259 | 827082 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG1 | WPS45S | 60
394 | 851576 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
242 | 742627 |  | FALSE | FALSE | Cummins | Cummins | M-C45 | 31
374 | 705195 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
172 | 430814 |  | FALSE | FALSE | Perkins | Perkins | Perkins | 15
461 | 852352 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
369 | 705180 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
430 | 852347 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
403 | 852337 |  | FALSE | FALSE | Perkins | Generator, Perkins, 30 KVA Prime. | Generator, Perkins, 30 KVA Prime. | 30
233 | 718092 |  | FALSE | FALSE | Perkins | Perkins 403A-15G1 | CDG 10 PS | 10
220 | 690273 |  | FALSE | FALSE | Caterpillar | CAT C7.1 | DE220E0 LC5014F | 275
241 | 742798 |  | FALSE | FALSE | Perkins | Perkins 1104C-44TG2 | DGS-PR-0040 | 60
387 | 851566 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
396 | 851578 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
173 | 430818 |  | FALSE | FALSE | Perkins | Perkins | Perkins | 15
170 | 431174 |  | FALSE | FALSE | Perkins | S.No U473000S | Perkins 80 KVA Water Cooled | 80
364 | 705176 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
263 | 591119 |  | FALSE | FALSE | FG Wilson | FG Wilson | P45P2 | 45
185 | 2202002 |  | FALSE | FALSE | Perkins | 1104C-44TA | WPS45S | 45
218 | 499910 |  | FALSE | FALSE | Perkins | Perkins 403D-11G | YNS6.5PE-II | 65
179 | 3805252 |  | FALSE | FALSE | FG WILSON | 1103A-33TG2 | P65-5 | 65
240 | 709489 |  | FALSE | FALSE | Perkins | Perkins 1103A-33TG1 | WPS45S | 45
224 | 690276 |  | FALSE | FALSE | Perkins | P65 | P65 | 65
384 | 705198 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
365 | 705177 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
190 | 2206812 |  | FALSE | FALSE | Caterpillar | Perkins | DE22E3 | 22
413 | 851532 |  | FALSE | FALSE | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | 60
438 | 852371 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
217 | 499980 |  | FALSE | FALSE | Perkins | PEP22 | 65kva perkins | 65
244 | 661713 |  | FALSE | FALSE | Perkins | Perkins 403D-11G | YNS6.5PE-II | 14
285 | 648179 |  | FALSE | FALSE | Perkins | Perkins | Perkins 40KVA Water-Cooled | 40
451 | 852379 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45KVA Prime | Generator, Caterpillar, 45KVA Prime | 45
449 | 852374 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45KVA Prime | Generator, Caterpillar, 45KVA Prime | 45
431 | 852348 |  | FALSE | FALSE | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
410 | 851530 |  | FALSE | FALSE | Generator, Bison, 45 KVA | Generator, Bison, 45 KVA | Generator, Bison, 45 KVA | 45
222 | 499929 |  | FALSE | FALSE | Perkins | P13.5-6 | P13 | 13
11 | 1765433 |  | FALSE | FALSE | Perkins | PEP 81 | FGWPEP81HYCD02497 | 16
376 | 705197 |  | FALSE | FALSE | Bizon | Bizon | JET 9500 KE | 8
460 | 852315 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
445 | 851729 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 16KVA Prime | Generator, Caterpillar, 16KVA Prime | 16
409 | 851525 |  | FALSE | FALSE | Generator, Bison, 45 KVA | Generator, Bison, 45 KVA | Generator, Bison, 45 KVA | 45
444 | 851735 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12 KVA Prime | Generator, Caterpillar, 12 KVA Prime | 12
178 | 431175 |  | FALSE | FALSE | Perkins | Perkins S.No. U327554N | Perkins 80 KVA | 80
465 | 852363 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 12KVA Prime | Generator, Caterpillar, 12KVA Prime | 12
192 | 505132 |  | FALSE | FALSE | Perkins | Perkins 2871A301 | Perkins 100 KVA | 100
191 | 2206891 |  | FALSE | FALSE | Caterpillar | Perkins | DE22E3 | 22
176 | 431339 |  | FALSE | FALSE | Perkins | Perkins 250 KVA | Perkins 250 KVA Water Cooled | 250
423 | 852339 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
385 | 705207 |  | FALSE | FALSE | Bizon | Bizon | WDS B025Z 140 | 13
254 | 802052 |  | FALSE | FALSE | Perkins | Perkins 1103A | JP45 | 13
392 | 851580 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
412 | 851531 |  | FALSE | FALSE | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | 60
442 | 852377 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
393 | 851564 |  | FALSE | FALSE | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | Generator, Bison, 10 KVA | 10
411 | 851522 |  | FALSE | FALSE | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | Generator, Bison, 60 KVA | 60
386 | 705208 |  | FALSE | FALSE | Bizon | Bizon | WDS B025T 180 | 30
246 | 718090 |  | FALSE | FALSE | Perkins | Perkins 1103A-33G | PP30S | 30
401 | 852329 |  | FALSE | FALSE | Perkins | Generator, Perkins, 30 KVA Prime. | Generator, Perkins, 30 KVA Prime. | 30
436 | 852359 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
459 | 851589 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
457 | 851547 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 100KVA Prime | Generator, Caterpillar, 100KVA Prime | 100
443 | 852378 |  | FALSE | FALSE | Caterpillar | Generator, Caterpillar, 45 KVA Prime | Generator, Caterpillar, 45 KVA Prime | 45
214 | 556015Y |  | TRUE | TRUE | KJ POWER | PERKINSS 403D-15G | 5KJP15ATSP | 15
25 | 1035592 |  | FALSE | TRUE | Perkins | 19A1001 | WPS150BS | 150
27 | 1007322 |  | FALSE | TRUE | Perkins | Perkins 1103A-33G | PP30S | 250
228 | 2 |  | TRUE | TRUE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 110
39 | -597479 |  | TRUE | FALSE | LOVOL + Altenator: Powergen PGA 22D | LOVOL 1004G | Powergen PGA 22D | 45
33 | -417391 |  | TRUE | FALSE | Sakr | Sakr 3B10K003210 | Sakr 3B10K003210 Water-Cooled | 33
163 | -832991 |  | TRUE | FALSE | Caterpillar | 7K305617 | Caterpillar DE110-GC 50 Hz | 110
186 | 22C2001 |  | TRUE | TRUE | Perkins | 1104C-44TA | WPS45S | 45
348 | 1048946 |  | FALSE | TRUE | Perkins | TGBF5012N03292B | PERKINS GEN 350 KVA, WATER COOLER | 350
468 | 852356 |  | FALSE | TRUE | Caterpillar | Generator, Caterpillar, 20 KVA Prime | Generator, Caterpillar, 20 KVA Prime | 20
226 | 1 |  | TRUE | TRUE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 165
21 | 5291620 |  | FALSE | TRUE | Perkins | Perkins 90520P | Perkings 170KVA | 170
181 | 2202012 |  | FALSE | TRUE | Perkins | 1104C-44TA | WPS100S | 100
215 | 1035592 |  | FALSE | TRUE | GEN, POWERLINK, WPS150BS 150 k | Peak Intrnational Trade (Tianjin) Co. Ltd | WPS150BS 150k | 150
37 | -417332 |  | TRUE | FALSE | AriaKaraSanat | LOVOL 1004TG | AriaKaraSanat 75 KVA Water-Cooled | 75
184 | 21B2031 |  | TRUE | FALSE | Perkins | 1104C-44TA | WPS60S | 60
162 | -593996 |  | TRUE | FALSE | SDMO | John Deere 3029tf120 | SDMO J44K | 44
30 | 1110709 |  | FALSE | TRUE | SVF | SVF TF17D6-1P | SVF TF17D6-1P | 16
351 | 648487 |  | FALSE | TRUE | Perkins | 1612-140-161230-0914 | PERKINS GEN 250 KVA, WATER COOLER | 250
227 | 2 |  | TRUE | FALSE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 110
368 | 705179 |  | FALSE | TRUE | Bizon | Bizon | JET 9500 KE | 8
36 | -416960 |  | TRUE | FALSE | Perkins | PERKINS TWO II 184G1 | PERKINS, Water Cooled 35KVA | 35
225 | 1 |  | TRUE | FALSE | Perkins | Perkins 1106A-70TAG4 | KJ-P220 | 165
35 | -417471 |  | TRUE | FALSE | MBH | 3LND-K | B4XIS/4, 40KVA Water-Cooled | 40
188 | 5KJ6243 |  | TRUE | TRUE | Perkins | 403D-15G | 5KJP15ATSB | 13